## Slide 1: UKF Tractography Tutorial
Pegah Kahali, M.D.
Surgical Planning Laboratory
Harvard Medical School

## Slide 2: 3DSlicer
The tutorial uses the 3DSlicer software (www.slicer.org)
It is the responsibility of the user of 3DSlicer to comply with both the terms of the license and with the applicable laws, regulations and rules. Slicer is a tool for research, and is not FDA approved.

## Slide 3: 3DSlicer
An end-user application for image analysis
An open-source environment for software development
A software platform that is both easy to use for clinical researchers and easy to extend for programmers
3D Slicer is a multi-institution effort supported by the National Institutes of Health.
[Chen et al, 2015]

## Slide 4: UKF Installation
3D Slicer now supports plug-ins/extensions that are available for download from an extension server. Extensions allow end-users to selectively install features that are useful for them.
UKF tractography can be installed on Slicer using “Extension Manager”.
Instructions: Extension Manager Wiki

## Slide 5: UKF Tractography
Unscented Kalman Filter tractography method:
  Simultaneous model estimation and tractography
  The diffusion model is fit to the data during tractography not before.

## Slide 6: Why UKF
UKF tractography may detect more fibers comparing to single-tensor streamline tractography (Slicer default method), especially in edematous areas.
For example: The UKF two-tensor model traces a larger volume arcuate fasciculus in the setting of edema.
[Chen et al, 2015]

## Slide 7: Unscented Kalman Filter Tractography
Neural Tractography Using an Unscented Kalman Filter
[Malcom et al., 2009]

## Slide 8: Before getting started…
take a look at: Diffusion Tensor Imaging Tutorial

## Slide 9: DWI Dataset
Download the data at: DWI Dataset
The Diffusion Weighted Imaging (DWI) dataset is composed of :
  1 volume acquired without diffusion-sensitizing gradient
  41 volumes acquired with 41 different diffusion-sensitizing gradient directions

## Slide 10: Start Slicer

## Slide 11: Load the data
1
2
3

## Slide 12: There you go…!

## Slide 13: Main Steps
Creating a brain mask
Creating FA map
Creating region of interest for tract seeding
UKF tractography

## Slide 14: Brain Mask Creation
select “Diffusion Weighted Volume Masking”

## Slide 15
the input is the DWI volume you loaded
create new volumes as the Baseline and Mask
set best parameters here

## Slide 16: the Otsu segmentation algorithm produces a mask
this mask can then be used when estimating the diffusion tensor image, in order not to estimate tensors all over the volume

## Slide 17: Tract Seeding
For whole brain tractography with UKF, the Otsu threshold mask is used as the brain mask.
To seed a specific tract of interest, label maps can be drawn on either:
    DWI (output baseline volume)
    FA map

## Slide 18: Tract Selection
Note that FA maps can be more informative for selecting ROIs.
For that purpose you should first estimate DTI and calculate FA map
Although these maps are only used here for ROI selection and the model is again estimated from DWI for UKF tractography.

## Slide 19: DWI to DTI Estimation
select this module

## Slide 20: Set the Parameters

## Slide 21
select Otsu Threshold Mask you already created
select WLS (Weighted Least Square)
Click Apply
create new Output DTI Volume
select the “Output Baseline Volume” you already created

## Slide 22: Status: Completed! 100%
select “Output DTI Volume” as the background and “None” for foreground and label map

## Slide 23: color-coded DTI volume
if you click on the “eye” icon, you’ll have the slice in the 3D viewer

## Slide 24
browse through the DTI volume here

## Slide 25: Diffusion Tensor Scalar Measurements; FA
select the module

## Slide 26
create new Output Scalar Volume (FA)

## Slide 27: Select the Editor Module

## Slide 28: to be able to select ROI for CC as an example, select sagittal view (yellow slice only)

## Slide 29: ROI Definiton
select the “DrawEffect” tool and mark the contour of CC

## Slide 30: press enter repeat this for 3 adjacent slices

## Slide 31
label map containing the corpus callosum is created

## Slide 32: UKF Tractography
The module can use different methods:
  1-Tensor tractography (single fiber model)
  2-Tensor tractography (crossing fiber model)
  NODDI (estimates microstructural complexity of dendrites and axons)
The module can add a term for the free water model. This model tries to separate the signal from partial voluming with cerebrospinal fluid.

## Slide 33: UKF Tractography Module

## Slide 34
select the label map as seeds for tractography
select the Otsu Mask to confine the tractography
create new FiberBundle
select the number of the label map

## Slide 35
for bigger voxels, use higher number of seeds per voxel
To increase seeding sensitivity, lower seed FA (0.15)
To track further, lower terminating FA (0.1) and GA (0.075)

## Slide 36
find out more details at:
    Documentation/Nightly/Modules/UKFTractography
Set other parameters here:
Click Apply

## Slide 37: Corpus Callosum

## Slide 38: Conclusion
This tutorial, helps you to load diffusion data, run the tensor estimation, calculate scalar measurements, and define ROIs to finally be able to run UKF tractography.
contact: yogesh@bwh.harvard.edu

## Slide 39: Acknowledgments
U01CA199459, Open Source Diffusion MRI Technology For Brain Cancer Research
P41EB015898, National Center for Image Guided Therapy (NCIGT)
P41EB015902, Neuroimage Analysis Center (NAC)